**Description of the problem :**

**Product Fix**

46540 / Networked Data Acquisition Interface

The measured and calculated values are no longer displayed on the web page of the module and this is caused by the fact that Adobe Flash Player is no longer supported by the major web browsers.

**How to fix:**

Install the new firmware which now uses HTML5 code.

To do so, extract the HEX file from the ZIP file associated to this product fix and follow the procedure regarding the firmware installation that can be found in the user guide (580596) provided with the model.